# Corporate Health & Safety Manual

3.26 Fire and Building Safety in High Rise Residential Buildings

Guidance and Procedures

## Summary

- Appointment of Principal Accountable Person (STC).

- Appointment of the Responsible Person

- Ensure adequate resources are allocated to manage fire risk.

- Any problems arising in connection with the management of fire risk are raised and adequately managed.

- Ensure those responsible for managing buildings maintain up to date property registers / records and fire risk assessments. (including the Building Safety Case)

- Ensure adequate processes and procedures are in place to manage fire risk across the organisation.

- Compliance checks are completed regularly and recorded

- Ensure adequate processes and procedures are followed in relation to procurement

of contractors and suppliers.

- Ensure sufficient information, instruction and training is carried out.

- Liaise with tenants to ensure fire risk is minimised.

- Liaise with Tyne & Wear Fire Rescue Service (TWFRS) to ensure best use of available resources and promote fire awareness.

- Legal Requirements

The Regulatory Reform (Fire Safety) Order 2005 and the most recent Fire Safety Act 2021 and Fire Safety (England) Regulations 2022 covers general fire safety in England and Wales.

The Building Safety Act 2022 also places further duties on owners to manage building safety risks in the higher-risk buildings for which they are responsible.

- Important Definitions

AP - Accountable Person - an organisation or business but could also be an individual. The AP will have a duty to take all reasonable steps to prevent a building safety risk happening, with building safety risk defined as 'spread of fire and/or structural failure'

PAP – Principal Accountable Person - This will be the organisation or person who owns or has responsibility for the building.

RP – Responsible Person  - will be the person who has control of the premises under the Fire Safety (England) Regulations 2022.

BSR - Building Safety Regulator - The Building Safety Regulator is an independent regulator with its own powers, strategic plan, and programme of work. They give expert advice to local regulators, landlords and building owners, the construction and building design industry, and to residents.

Building Safety Case – Document which identifies the building's major fire and structural hazards, and it shows how the risks will be managed.

Golden Thread - The Golden Thread is a digital record of all project and asset data, detailing how a building was designed, built, managed and operated.

PIB - A Premises Information Box is a key safety device that may be installed within many buildings that contains important information for fire crews attending an incident.

DSEAR - DSEAR stands for the Dangerous Substances and Explosive Atmospheres Regulations 2002.

- Procedures

Employers (and/or building owners or occupiers) must carry out a fire safety risk assessment and keep it up to date. This shares the same approach as health and safety risk assessments and can be carried out either as part of an overall risk assessment or as a separate exercise.

Based on the findings of the assessment, employers need to ensure that adequate and appropriate fire safety measures are in place to minimise the risk of injury or loss of life in the event of a fire.

Those carrying out the fire risk assessment must be competent to do so, in terms of

having sufficient training and experience or knowledge and other qualities.  New legislative requirement will be brought into force at a later date and will provide relevant guidance in competency ahead of the commencement date which will be adhered to.

South Tyneside Homes (STH) & South Tyneside Council (STC) takes its responsibility towards fire safety very seriously and will endeavour to reduce the risk of fire to as low a level as reasonably possible.  In order to do this, we will:

  - Undertake risk assessments and inspection regime that is compliant with prevailing

legislation as a minimum and wherever possible achieve best practice. Using an accredited Fire Risk Assessor where necessary.

  - Maintain passive fire precautions effectively.

  - Require contractors and any South Tyneside Homes workers to replace any fire

stopping on completion of works.

  - Keep sources of ignition and source of fuel separated.

  - Liaise with tenants to ensure fire risk is minimised.

  - Liaise with Tyne & Wear Fire Rescue Service (TWFRS) to ensure best use of

available resources and promote fire awareness.

  - When fires and false alarms occur, investigate the causes, identify lessons learnt, and

implement preventative measures to prevent them reoccurring.

  - Building Safety Information available to residents.

  - Provision of information to regulator and others.

Scope

These guidance and procedures apply to all activities and functions undertaken by, or on behalf of, South Tyneside Homes and South Tyneside Council and applies to all employees and high-rise building stock.

South Tyneside Homes and South Tyneside Council have a duty to ensure that all building safety related risks are managed appropriately, and this guidance has been developed in line with statutory legislation and industry best practices.

This document covers:

•	Roles and responsibilities

•	Fire risk assessment and frequencies

•	Fire protection and equipment

  - Evacuation Plans and Fire Drills

•	Inspections and audits

•	Records

  - Building Safety Case and the Golden Thread

  - Engagement with Residents

  - Structural Safety

  - Liaison with Emergency Services

  - Mandatory Occurrence Reporting

  - Governance

•	Training

All staff are required to adhere to this guidance and procedure document to protect themselves, customers and other visitors within South Tyneside Homes and South Tyneside Council premises.

Roles and Responsibilities

Accountable Person (South Tyneside Council) (also Principal Accountable Person)

Part 4 of the Building Safety Act identifies new duty holders – who will be known as ‘accountable persons’ (APs) – for residential high-rise buildings (HRBs). This will be the Senior Manager - Assets and Programme Management within South Tyneside Council.

The AP has a duty to take all reasonable steps to:

  - prevent a building safety risk happening, with building safety risk defined as ‘spread of

fire and/or structural failure’

  - reduce the seriousness of an incident if one happens

As the Senior Manager - Assets and Programme Management has the AP responsibility for the structure and exterior of the building, they will also be the principal accountable person (PAP).

They must:

  - Register existing buildings with the Building Safety Regulator (BSR)

  - Provide key building information to the BSR

  - Register all new buildings before occupation

  - Apply for a building assessment certificate for occupied buildings

  - Display the building assessment certificate

PAPs must also:

  - Prepare a safety case report for the building.

  - Have a mandatory occurrence reporting system operated by the PAP

  - A complaints procedure in place

  - Ensure a Resident engagement strategy and review at least every 2 years.

  - Ensure the Golden Thread of Information is kept and maintained.

This should show that:

  - APs have assessed all building safety risks

  - taken all reasonable steps to control them

  - give the safety case report to BSR on request – BSR will examine it during the building assessment

Detailed, accurate information about the building will be critical when registering a building and when preparing the safety case report.

Chief Executive (STC)

The Chief Executive has overall responsibility for Health & Safety within South Tyneside Council.  This includes the actions of the organisation and all parties and contractors working on behalf of South Tyneside Council.  They are therefore required to ensure that adequate resources are allocated to managing building safety risks.

Managing Director (STH)

The Managing Director has overall responsibility for Health & Safety within South Tyneside Homes.  This includes the actions of the organisation and all parties and contractors working on behalf of South Tyneside Homes.  They are therefore required to highlight any concerns relating to resources to STC.

In addition, the Managing Director will be known as the Responsible Person under the Fire Safety (England) Regulations 2022. Where they will effectively manage  the resources from the budget provided, to comply with the said regulations any concerns will be raised with STC.

Directors (STH)

The Directors will assist and deputise for the Managing Director and are responsible for the overall effectiveness of the fire safety policy in their areas of responsibility.  They are required to:

  - Effectively manage the budget allocated to manage building safety risk within their Directorates

  - Advise the Managing Director of any problems arising in connection with the management of building safety risk

  - Ensure persons responsible for managing buildings maintain up to date property registers /records and fire risk assessments.

  - Ensure adequate processes and procedures are in place to manage building safety risk across the organisation

  - Ensure adequate processes and procedures are followed in relation to procurement of contractors and suppliers

  - Ensure sufficient information, instruction and training is carried out.

  - Monitor the performance of staff and contractors in building safety management.

  - Ensure that customers, members of the public, staff and strategic partners/contractors are not unnecessarily exposed to risk

The Directors shall also be responsible for the strategic management of fire precautions within residential buildings which they have responsibility for and shall together with the named accountable person:

  - Ensure that all Fire Risk Assessments and Fire Evacuation Plans are adequately complied, periodically revised and adequately managed and shared with residents.

  - Ensure audits and inspections are conducted to ensure that the provisions within the Fire Safety Procedures are being enforced to the standard required

  - Ensure sufficient information, instruction and training is being carried out

  - Ensure that fire precautions are maintained effectively

  - Appoint the South Tyneside Council (STC) Occupational Health & Safety Team to support in the investigation of fires and introduce controls to reduce the risk of such incidents recurring

Head of Asset and Property Services (STH)

The Head of Asset and Property Services is responsible to ensure all fire safety equipment and systems are serviced and maintained, ensure the TWFRS are aware of fire  safety equipment and safety system failures. The management of the Permit to Work process, the effective reporting of KPI’s and the updating of electronic systems. Assisting with DSEAR risk assessments and the provision and recording of training.

Assistant Head of Assets and Sustainability (STH)

The Assistant Head of Assets and Sustainability is responsible for the management of the golden thread of information and ensuring the assets are maintained where applicable.

Assistant Head of Service for Compliance and Customer Safety and Team (STH)

The Compliance Manager and Team will provide assurance to the Senior Management Team by ensuring:

- Ensure all current legislation is adhered to

- Identify areas of non-compliance

- Challenge performance on non-compliance areas

- Monitor and audit areas of compliance

- Conduct Building Safety Assessments on fire and structural risks.

- Develop safety case report and records

- Ensure Fire risk assessments are undertaken

- Monitor  remedial works from fire risk assessments, inspections and audits are actioned and completed

- Maintain effective working partnerships with Tyne and Wear Fire Rescue Service (TWFRS) and other organisations to ensure building safety is a priority of South Tyneside Homes

- Carry out audits and inspections across the 6 areas of compliance to buildings (Fire, Gas, Electricity, Lifts, Asbestos and Water) ensuring building compliance is maintained when requested

- Ensure a robust permit to work procedure (PTW) is effective and in operation in high rise buildings

- Ensure PIMSS Compliance and Twinnedit systems are used correctly and updated when required.

- Ensure buildings are inspected, including weekly fire alarm testing

- Carry out initial investigations of issues following an inspection

- Log and report any fire alarm activations which have taken place including analysis of trends

- Cary out annual home safety checks

- Carry evacuation assessment and refer to TWFRS if required

- Ensure the buildings Premises Information Box (PIB) data is maintained, current and secure at all times

- Ensure assistance list is maintained

- Provision information to residents on the evacuation strategy, fire doors, fire risk assessment summary, performance  and posters

- Ensure effective communication with residents

- Ensure effective wayfinding signage is present in buildings to aid the Fire and Rescue service

- Ensure lifts and essential fire-fighting equipment are maintained and serviced, and  failures are reported to the Fire and Rescue Service

- Prepare floor and building plans with prescribed information as detailed in the regulations some of which must be shared electronically with the Fire and Rescue Service

- Prepare a record of the design of the external walls of the building, including details of the materials from which they are constructed and share with TWFRS

- Ensure structural surveys are conducted as per recommendations

- Provision and recording of training related to building safety

- Ensuring processes and procedures are followed in relation to procurement of contractors and suppliers

- System in place for tenants to raise any concerns and arrange for these to be investigated and rectified where appropriate as soon as possible

- Ensure a Mandatory Occurrence Reporting system is in place

Property Service Managers  (STH)

Property Services  Managers are responsible for the detailed arrangements necessary to manage building safety risk within their areas of control.  Where contractors are being managed and there is a likelihood that fire and structural precautions may be affected, the South Tyneside Homes Permit to Work system must be used alongside regular monitoring to ensure these precautions are maintained. Ensure where applicable that they:

- Take reasonable care for their own health and safety and that of other persons who may adversely affected by active and/or passive fire precautions including members of the public, tenants, visitors and contractors

- Cooperate with managers, the Occupational Health & Safety Team and Compliance Team to enable compliance with this policy and the legal duties it holds

- Comply with every measure that is put in place to manage building safety throughout the organisation

- Ensure adequate resources and made available to manage safety risk in their buildings

- Ensure Permit to Work log is maintained by all staff.  The Repairs and Maintenance Manager will provide a monthly report on completed permit to works.

- Ensure all employees working within their buildings receive adequate information, instruction, training and supervision in relation to their buildings and are familiar with the Fire Safety and Evacuation procedure that are in place, This includes the provision of regular refresher training in maintaining skills

- Report hazards that may present a serious risk of fire or the structure

- Ensure fire door checks (Communal areas) are undertaken every 3 months

- Ensure flat entrance fire doors are checked every 12 months

- Ensure all fire doors faults are recorded and actioned

- Ensure the fire door manager system is updated

- Ensure PIMSS and Twinnedit systems  are updated

- Provision of building safety reports and KPI’s

- Provision and recording of training related to building safety

- Must ensure suitable and sufficient programmes are in place for service and maintenance of all equipment and systems and fault reporting to the TWFRS

- Ensure any remedial actions allocated from fire risk assessments, inspections and audits  are actioned and completed within the approved timescales

- Ensure processes and procedures are followed in relation to procurement of contractors and suppliers

- Consult with Building Safety Regulator where major works will be taking place to confirm if any action is to be taken.

- Ensure effective communication with residents

Occupational Health & Safety Team (STC)

The Occupational Health & Safety Team will provide advice, support and guidance when required, report any concerns and provide Monthly activation reports to Senior Management.

Housing Management (STH)

Housing Management staff must ensure they adhere the High-Rise procedures and ensure the following:

- Take reasonable care for their own health and safety and that of other persons who may adversely affected by active and/or passive fire precautions including members of the public, tenants, visitors and contractors

- Cooperate with managers, the Occupational Health & Safety Team and Compliance Team to enable compliance with this policy and the legal duties it holds

- Comply with every measure that is put in place to manage fire safety throughout the organisation

- Develop, implement and maintain the Tenant Engagement Strategy (LINK STRATEGY)

- Tenancy investigation and enforcement relating to building safety and anti-social behaviour

- Facilitate and hold regular Health & Safety meetings with residents.

- Provision of building safety information to new residents

- Provision and recording of training related to building safety

- Report hazards that may present a serious risk of fire or the structure

- Remove or reduce hazard that, in their opinion may present a serious risk to health of themselves or others

- Facilitate access for the of reason any inspection required to maintain building safety

- Adhere to the system in place for tenants to raise any concerns and arrange for these to be investigated and rectified where appropriate as soon as possible.

All Staff (STC & STH)

All staff must adhere to the permit to work procedure in place whilst programming or carrying out work within high rise buildings and must ensure the following:

- Take reasonable care for their own health and safety and that of other persons who may adversely affected by active and/or passive fire precautions including members of the public, tenants, visitors and contractors

- Cooperate with managers, the Occupational Health & Safety Team and Compliance Team to enable compliance with this policy and the legal duties it holds

- Comply with every measure that is put in place to manage building safety throughout the organisation.

- Report hazards that may present a serious risk of fire or the structure such as breaches of compartmentation

- Remove or reduce hazard that, in their opinion may present a serious risk to health of themselves or others

- Ensure processes and procedures are followed in relation to procurement of contractors and suppliers

Fire Risk Assessment

All high-rise buildings are to have a completed fire risk assessment in place which is to be reviewed as a minimum every 12 months by a competent external accredited risk assessor and will be shared with residents.

The Fire Risk Assessment should identify the design of the external wall of the building which includes details of the materials from which they are constructed, the nature of usage of the building and evaluate sources of ignition, sources of fuel, passive fire protection measures, fire fighting equipment and emergency procedures.

Building Managers will be responsible for ensuring any remedial actions from fire risk assessments are actioned and completed within the approved timescales.

Actions reported within the Fire risk assessment will be added to an action log detailing the rectification timescale and any subsequent measures recorded, this will be monitored by the Compliance Team.

Fire Risk Assessments will be reviewed:

- Annually as a minimum, depending on the nature of the building;

- Following a fire incident;

- Following a near miss;

- Following the introduction of a significant risk (e.g., persons with impairment)

- Following the introduction of new work practices;

- Following any works affecting the means of escape, alarm systems or affecting water services;

- As deemed necessary by the Occupational Health & Safety or Compliance Teams or Tyne and Wear Fire Rescue Service.

Example of the Fire Risk Assessment Matrix currently used:

Fire Fighting Equipment

Suitable and sufficient fire fighting equipment is provided at critical points within the buildings.  Fire fighting equipment is provided to staff to fight a small fire that maybe blocking their exit out of the building and then it should only be done if it feels safe to do, are confident and been properly trained.  All fire fighting equipment is to be inspected annually by a competent person to ensure it remains in an operational condition and relevant to the activities in the building.

Fire Suppression Systems

Where fire suppression systems are installed, these will be subject to maintenance and service programme to ensure they remain in an efficient state.

Alarm Systems

All high rises have a fully functioning fire detection and alarm system in place and are to be maintained according to the manufactures recommendations.

In addition, weekly checks are to be carried out in a way to test every call point and sounder on a regular basis.  Sounders are selected to provide an alarm at least 65db(A).

High Rise alarm systems are monitored 24 hours a day to ensure a response from the emergency service and reduce false alarms out of normal hours.

Compartmentation

Compartmentation is a vital part of the fire safety design of a building and seeks to divide large spaces into smaller, more manageable ones should a fire occur. Fire compartmentation is also used in order to create a safe, protected means of escape for the building occupants.

Therefore, it is extremely important any works completed in the building which may affect the fabric of the building are fire stopped correctly to ensure the integrity of the building and fire safety.  Regular inspections are completed of works carried out to ensure the integrity has been maintained.

Any works that require compartmentation remedial works carried out will require a full document incorporating photographic evidence, labelling of the works, materials used and the certification.

Fire Doors

Fire doors will be inspected to the frequencies as detailed in the Fire Safety (England) Regulations 2022 by competent trained staff. All inspections, repairs and maintenance will be managed  within the Fire Door Manager system via the New Build and Major Works Team. Failed attempts to access will be recorded to prove best endeavours to gain access.

Evacuation Plan & Fire Drills

As part of the fire evacuation plan, a plan of the building will be prepared and displayed, complete with the location of the fire alarm panel, smoke detectors and fire hydrants, any alarm zones will also be indicated. The evacuation plan should also mirror the contents of the Fire Risk Assessment for the building.  The plan must be shared with Tyne and Wear Fire Rescue Service.

An Assembly Point will have been identified and communicated to all; signs will be displayed.  The fire assembly point should be far enough away from the building and sited so as not to hamper the approach of emergency vehicles or firefighting operations.

Fire drills for the communal areas to be completed at least once per year as per guidance.

If a building is evacuated due to a ‘false alarm’ and the evacuation procedure works as intended, this ‘false alarm’ evacuation may be counted as a fire drill therefore negating the need for a further fire drill.

Emergency Evacuation Plans

Where staff or tenants within high-rise buildings have disabilities emergency evacuation plans will be produced in consultation with the individual and this information will be relayed to Tyne and Wear Fire Rescue Service. An assistance list will be provided in the buildings PIB.

Mobility Scooter Storage

A separate policy is currently under development on the procedures for the storage and charging of mobility scooters in high rise buildings.

Any concerns currently identified then a dynamic risk assessment must be completed.

Compliance Building Inspections (STH & STC)

Building Safety Officers with the assistance of the Caretakers are responsible for undertaking compliance building inspections within High Rise buildings and any defects found are reported to the Compliance team and monitored on an action log.

Daily checks conducted by Caretakers.

- Fire panel display inspection

- Removal of tumble dryer lint

- Premises information box inspection

- Clear landing inspection

- Management of waste

Weekly checks include:

- Fire alarm weekly test

- Fire door and general fire safety including signage

- Emergency lighting indicator inspection

- Escape route inspection

- Premises information box is up to date and the assistance list is accurate.

- Void property inspection

- Inspection of bin chute doors

Monthly/Quarterly/Bi-annual/Annual include:

- False alarm management

- Assistance list information

- Maintenance records

- Visual Structural inspections

Inspections and Audits

Regular inspections and audits are completed by Occupational Health & Safety and the Building Safety Inspector and the Compliance Team.  These inspections are conducted at intervals determined by risk and the results are recorded and shared with the relevant stakeholders.

Records

Every building should hold and maintain a fire file record which will detail:

- Assistance List

- Fire Risk Assessment

- Fire Action Plan / Policy Documents

- Floor Plans

- Maintenance Log

Within the High Rises these files are kept within the PIB at the entrance to the buildings.

Information is also stored within the PIMSS Compliance System and Twinnedit.

Building Safety Case

The Building Safety Act requires that all reasonable steps are taken to prevent any building safety incidents and reduce the severity of an incident, should one occur.

The Act defines a building safety risk as the spread of fire, or structural failure. The spread of fire includes the spread of all forms of combustion, for example smoke, fumes, and heat.

In the Act, those responsible for occupied, high-rise residential buildings will be required to:

- register their building with the Building Safety Regulator (BSR)

- perform a building safety risk assessment

- introduce measures to manage building safety risks

- prepare a safety case report for their building to give to BSR on request

To help show all reasonable steps have been taken to manage building safety risk the following list should be considered, it is not exhaustive and may be subject to change.

- Basic building information

- The building's construction

- Resident profile

- Refurbishment

- Fire prevention and protective measures

- Structural safety

- Services and utilities

- Maintenance and inspection

Additionally, the information required for the golden thread of information will vary depending on the building.

The Compliance Team, Occupational Health & Safety Team, Building Control, Safety and Resilience Team and external competent Fire Risk Assessor will support the Principal Accountable Person by producing and reviewing the Building Safety Case for high rise buildings with the support of others across both South Tyneside Homes and South Tyneside Council.

It is then the responsibility of the Principal Accountable Person to provide the safety case and tenancy engagement strategy upon the request of the Building Safety Regulator.

Structure and Cladding of the building

The integrity and safety of the buildings structure will be monitored and reviewed:

- External Wall Survey EW1 will be conducted by an external competent person.

- External cladding and insulation will inspected on a 5 yearly programme

- Deterioration of the Concrete structure is inspected on a 5 yearly programme.

Liaison with Emergency Services

South Tyneside Homes are committed to working with Tyne and Wear Fire Rescue Service to create a safer place to work and live.

Continual liaison is a critical part of our relationship with Tyne and Wear Fire Rescue Service and together will share relevant information to reduce fire risk to as low as possible which will include:

- Provision of a list of all South Tyneside Homes managed properties and key information relating to High Rise Buildings.

- Provide critical information in the fire boxes.

- Supply of key details of high rise or vulnerable tenants who will need extra consideration in the event of a fire or evacuation.

- Sharing of the key information from Home Safety Checks

- Supply contact details of staff responsible for managing the buildings

- Joint working to enable accurate assessments of risk in the high rises

- Provision of Tyne and Wear Fire Rescue Service training to enhance fire awareness of our staff

- Sharing information on fire incidents and the implementation of preventative measures.

- Consult with Tyne and Wear Fire Rescue Service in the design of fire safety detection and alarm systems in our buildings.

- The accommodation of Tyne and Wear Fire Rescue Service training exercises within our buildings to allow them to deliver a more effective emergency service.

- Working together to promote best practice in reducing fire risk.

During the evacuation assessment or a tenancy support visit conducted by South Tyneside Homes staff, should staff identify certain factors that create a risk a referral is made to the  Tyne and Wear Fire Rescue Services who will consider and respond appropriately. Home safety checks are carried out annually by a Building Safety Officer in High Rise buildings. In addition to this they are completed following a concern matters referral and at month 8 of new

Incidents and Emergency planning

In the event of an incident occurring the Evacuation and Emergency Response Plan would come into effect.

Mandatory Occurrence Reporting

Section 87 of the Building Safety Act sets out that the principal accountable person for an occupied higher-risk building will establish and operate an effective mandatory occurrence reporting system.

A separate procedure sets out how South Tyneside Homes (STH) will effectively operate a mandatory occurrence reporting (MOR) system within the high rise buildings - Durham Court, Ellen Court, Monastery Court and Wilkinson Court.

Governance

Building Safety is a standard agenda item at a number of meetings and monthly reports are produced and discussed at the following:

- High Rise Building Safety Group

- Compliance Group

- Corporate H&S Management Group

- Housing Monthly Health & Safety

- Housing Fire Safety Group

The High Building Safety Group bring nominated representative together from STC and STH to ensure that Buildings in scope are being managed effectively and chaired by the PAP. Reports are provided to the Strategic Housing Board and any issues are escalated to the Chief Executive in STC.

Training

A training matrix has been developed highlighting the type of training and frequency needed:

| Training | Building Safety Officers | Caretakers | Other Users (including residents) | Frequency |
| --- | --- | --- | --- | --- |
| Introduction to procedures | X | X | Housing Management | On commencement of role |
| Permit to work procedures | X | X | N/A | 3 yearly |
| Evacuation Assessment form | X | N/A | N/A | 3 yearly |
| Home safety check | X | N/A | Housing Management | One off |
| Asbestos Awareness UKTA | X | X | N/A | 3 yearly |
| Fire safety training | X | X | Resident Building Safety Champions | 3 yearly |
| Fire alarm training | X | X | N/A | On commencement of role |
| Daily / weekly Safety inspections | X | X | N/A | On commencement of role |
| Mandatory Reporting Procedure | X | X | Housing Management and Contractors | On commencement of role or works |
| Software | X | X | X | On commencement of role |

- Links to Guidance

The following is not an exhaustive list but some relevant regulations, approved code of practices and useful information relating to this policy:

- Health & Safety Executive – Fire Safety - https://www.hse.gov.uk/toolbox/fire.htm

- Regulatory Reform (Fire Safety) Order 2005 - https://www.legislation.gov.uk/uksi/2005/1541/contents

- The Fire Safety (England) Regulations 2022 - https://www.legislation.gov.uk/uksi/2022/547/contents/made

- Building Safety Act 2022 - https://www.legislation.gov.uk/ukpga/2022/30/contents/enacted

- The Higher-Risk Buildings (Key Building Information etc.) (England) Regulations 2023 - The Higher-Risk Buildings (Key Building Information etc.) (England) Regulations 2023 (legislation.gov.uk)

- The Building Safety (Registration of Higher-Risk Buildings and Review of Decisions) (England) Regulations 2023 - The Building Safety (Registration of Higher-Risk Buildings and Review of Decisions) (England) Regulations 2023 (legislation.gov.uk)

- The Housing Act 2004 - https://www.legislation.gov.uk/ukpga/2004/34/contents

- The Building Regulations 2010: Fire Safety Approved Document B - https://www.gov.uk/government/publications/fire-safety-approved-document-b

- Gas Safety (Installation and Use) Regulations 1998 - https://www.legislation.gov.uk/uksi/1998/2451/contents

- Electrical Equipment (Safety) Regulations 2016 - https://www.legislation.gov.uk/uksi/2016/1101/contents

- Furniture and Furnishings (Fire Safety) Regulations 1988 - https://www.legislation.gov.uk/uksi/1988/1324/contents/made

- Fire Safety Risk Assessment: Sleeping Accommodation - https://www.gov.uk/government/publications/fire-safety-risk-assessment-sleeping-accommodation

- National Fire Chiefs Council (NFCC) – Specialised Housing Guidance - https://www.nationalfirechiefs.org.uk/specialised-housing-

- Local Government Association – Fire Safety in purpose-built blocks of flats - https://www.gov.uk/government/publications/fire-safety-in-purpose-built-blocks-of-flats

- Health & Safety Executive - Building Safety & Safety Cases - https://www.hse.gov.uk/building-safety/index.htm

- Reporting a Mandatory Occurrence https://www.gov.uk/guidance/reporting-a-mandatory-occurrence

- STH Complaints policy Complaints policy - South Tyneside Homes

- Review

These guidance and procedures will be reviewed on an annual basis.

## Document approved by:		High Rise Building Safety Group

Last updated/reviewed:		June 2024

Date issued:				June 2024

Date of next review:			January 2025