# Section 1

DUTY HOLDER RESPONSIBILITES

Used as section 1 of the Asbestos Management Plan

CATAGORY:

AMP means Asbestos Management Plan.

| Identified responsibility | Duty Holder responsible for the provision | Notes |
| --- | --- | --- |
| Provision of the initial non-intrusive asbestos ‘management’ survey |  |  |
| Issuing of the AMP documents |  |  |
| Periodic Inspection of the asbestos or presumed asbestos |  |  |
| Review of AMP arrangements |  |  |
| Updating of AMP records |  |  |
| Site control / AMP site ownership |  |  |
| Contractor control |  |  |
| Project control |  |  |
| Assessment for additional refurbishment asbestos surveys |  |  |
| Asbestos Abatement and asbestos removal control |  |  |
| Staff training |  |  |
| Provision of information |  |  |

Extract from; Control of Asbestos Regulations CAR 2012. Regulation 4 ‘Duty to manage asbestos in non-domestic premises’. - In this regulation “the duty holder” means – - every person who has, by virtue of a contract or tenancy, an obligation of any extent in relation to the maintenance or repair of non-domestic premises or any means of access thereto or egress therefrom; or - in relation to any part of non-domestic premises where there is no such contract or tenancy, every person who has, to any extent, control of that part of those non-domestic premises or any means of access thereto or egress therefrom, and where there is more than one such duty holder, the relative contribution to be made by each such person in complying with the requirements of this regulation will be determined by the nature and extent of the maintenance and repair obligation owed by that person.

Note: This section is to be audited as part of the AMP review.

Section 2

CONTACTS

| Property Name |  |
| --- | --- |
| Property Address |  |
| Property Tel: Number |  |

Organisation

| Position | Name | Phone | Email |
| --- | --- | --- | --- |
| STC Asset Management. Asbestos Abatement Officer | Michael Hicks | 0191 4247685 07557203980 | Michael.hicks@ southtyneside.gov.uk |
| Local Duty Holder 1 (lead) |  |  |  |
| Local Duty Holder 2 |  |  |  |
| Other |  |  |  |
| Other |  |  |  |
| Other |  |  |  |
| Notes on Local Duty Holder management arrangements: |  |  |  |

Note: This section is to be audited as part of the AMP review.

Asbestos Management Plan (AMP) document

DUTY HOLDER ACCEPTANCE

By signing this document I understand and accept the apportioned DUTY HOLDER responsibilities in relation to CAR 2012 (Control of Asbestos Regulations) Regulation 4 ‘The Duty to Manage’ and as described within Section 1 of the property AMP.

All Duty Holders should also be familiar with the STC Corporate Guidance as detailed in Section 7.

| PROPERTY NAME: PROPERTY ADDRESS: |  |  |
| --- | --- | --- |
| South Tyneside Council Asset Management representative | Name: Position: | Sign: Date: |
| Property Local Duty Holder 1 (Lead) | Name: Position: | Sign: Date: |
| Property Local Duty Holder 2 | Name: Position: | Sign: Date: |
| Other: | Name: Position: | Sign: Date: |
| Other: | Name: Position: | Sign: Date: |
| Other: | Name: Position: | Sign: Date: |

Note: This section is to be audited as part of the AMP review.

Appendix D Asbestos Assessment (Material Assessment Algorythm) Table 1

From HSG 227 Appendix 2

| Sample Variable | Score | Examples of Scores |
| --- | --- | --- |
| Product Type (or Debris form Product) | 1 2 3 | Asbestos reinforced composites (plastics, resins, mastics, roofing felts, vinyl floor tiles, semi-rigid paints or decorative finishes, asbestos cement etc); Asbestos insulating board, mill boards, other low density insulation boards, asbestos textiles, gaskets, ropes and woven textiles, asbestos paper and felt; Thermal insulation (eg pipe and boiler lagging), sprayed asbestos, loose asbestos, asbestos mattresses and packing. |
| Extent of Damage or deterioration. | 0 1 2 3 | Good condition: no visible damage Low damage: a few scratches or surface marks; broken edges on boards, tiles etc; Medium damage: significant breakage of materials or several small areas where material has been damaged revealing loose asbestos fibres; High damage or delamination of materials, sprays and thermal insulation; Visible asbestos debris. |
| Surface treatment | 0 1 2 3 | Composite materials containing asbestos: reinforced plastics, resins, vinyl tiles; Enclosed sprays and lagging, asbestos insulating board (with exposed face painted or encapsulated), asbestos cement sheets etc; Unsealed asbestos insulating board, or encapsulated lagging and sprays; Unsealed laggings and sprays. |
| Asbestos Type | 1 2 3 | Chrysotile Amphibole asbestos excluding Crocidolite Crocidolite |
| Total Score |  |  |

Appendix D Asbestos Assessment (Priority Assessment Algorythm) Table 2

From HSG 227 Appendix 3

| Assessment Factor | Score | Examples of Scores Variables |
| --- | --- | --- |
| Normal Occupant Activities Secondary activity area | 0 1 2 3 As Above | Rare disturbance activity (eg little used store room); Low disturbance activities (eg office type activity); Periodic disturbance (eg industrial or vehicular activity which may contact ACMs); High levels of disturbance, (eg fire door with asbestos insulating board sheet in constant use); As above |
| Likelihood of Disturbance Location Accessibility Extent/Amount | 0 1 2 3 0 1 2 3 0 1 2 3 | Outdoors Large rooms or well-ventilated areas Rooms up to 100 m2 Confined spaces Usually inaccessible or unlikely to be disturbed Occasionally likely to be disturbed Easily disturbed Routinely disturbed Small amounts or items (eg strings, gaskets) I 10 m2 o􀁒I 10 m pipe run. >10 m2 to 􀀩50 m2 or >10 m to 􀀩50 m pipe run >50 m2 or >50 m pipe run |
| Human Exposure Potential Number of occupants Frequency of use of area Average time area is in use | 0 1 2 3 0 1 2 3 0 1 2 3 | None 1 to 3 4 to 10 >10 Infrequent Monthly Weekly Daily <1 hour >1 to <3 hours >3 to <6 hours >6 hours |
| Maintenance Activities Type of maintenance activity Frequency of maintenance activity | 0 1 2 3 0 1 2 3 | Minor disturbance (eg possibility of contact when gaining access) Low disturbance (eg changing light bulbs in asbestos insulating board ceiling) Medium disturbance (eg lifting one or two asbestos insulating board ceiling tiles to access a valve) High levels of disturbance (eg removing a number of asbestos insulating board ceiling tiles to replace a valve or for recabling) ACM unlikely to be disturbed for maintenance I 1 per year >1 per year >1 per month |

Appendix E Managing Repair Works in STC Managed Buildings Containing ACMs

Required works identified by Local Duty Holder

Local Duty Holder will undertake a suitable assessment using the property Asbestos Management Plan, to identify the potential for the proposed works to disturb any asbestos – known or presumed.

Will the proposed works disturb any known asbestos or presumed asbestos? OR require access to voids, concealed materials, or previously uninspected locations?

No

Yes

Notify Asset Management of intended works

Asset Management will arrange the provision of a refurbishment survey.

Does the survey identify any asbestos?

No

Yes

Asset Management will arrange any required asbestos abatements, to enable works and update management plan accordingly.

Plan and carry out intended works with care.

Appendix F Managing Contractors in STC Managed Buildings Containing ACMs

Note:	Before any repair, servicing or maintenance work is carried out on any building containing asbestos the procedure at Appendix E must have been followed:

Duty holder or their nominated person (Project Manager) will procure a competent contractor for the works

Arrange a pre start meeting, or discuss the scope of works and any asbestos implications. Give a copy of the asbestos management plan to the contractor for consideration of content and the works.

Is the AMP suitable for the proposed works?

YES

NO

Contractors provide a method statement and risk assessment for the proposed works

Additional survey assessment arranged and the required asbestos abatements undertaken

Method statement agreed with Project Manager

No

Yes

All employees are to be given a briefing on the asbestos management plan before works commence and sign it to declare that they understand it

Proceed with proposed works with caution

Duty holder to update management plan where necessary on completion of works

Appendix G    Asbestos Incident/Emergency Procedure – STC Managed Buildings

Accidental damage of suspected or known Asbestos Containing Material or the discovery of Asbestos Containing Material

STOP WORK, SECURE THE AREA AND PREVENT ACCESS TO IT.

Retain any persons that may have been exposed or affected in a safe location pending assessment and decontamination.

Inform the duty holder or site manager who is to contact the Asbestos Abatement officer

Asbestos Abatement officer will assess the controls in place, investigate asbestos records to identify asbestos, or take samples where required.

Does the material contain asbestos, or presumed asbestos?

No

Yes

Asbestos Abatement Officer is to assess the incident and surrounding factors, and then instigate decontamination/works by a competent licensed contractor, including associated analytical testing.

Complete an AS1 Report (Appendix I) and inform the Health and Safety Department.

On receipt of a clearance certificate from a UKAS registered analysist remove restrictions

Update Asbestos Management Plan as required

Carry on with intended works with caution.

Appendix H   Labelling Requirements

The following standard will be used for marking identified and presumed asbestos locations.

| Examples of acceptable asbestos stickers/ labels to be used |  |
| --- | --- |
| The following examples of labels/ stickers are suitable for use within the STC premises as part of the management control procedures outlined within this Asbestos Management Plan. These examples are not extensive and other appropriate stickers/ labels may be used. | Asbestos ‘tombstone’ sticker – normal industry standard label used |
| Presumed asbestos sticker – used when similar materials have been proven to contain ACMs | Encapsulated asbestos sticker – used when ACMs have been encapsulated |
| Asbestos sticker – An alternative to the ‘tombstone’ sticker highlighted above | Warning sticker – Can be used in communal areas where ACMs are present; may be used in place of other types specified above which may cause unnecessary concern |

Appendix I Asbestos Incident Report AS1

SOUTH TYNSIDE METROPOLITAN BOROUGH COUNCIL

Asbestos Incident Report

Incident ref No

This section is to be completed by the person involved in the incident, complete all boxes

Part 1

Mr/Mrs/Ms______ Surname ___________________ Christian Names ______________________________________ Address ________________________________________________________________________________________ D.O.B.

| Occupation: | Payroll No: | Department: Section: |
| --- | --- | --- |

When and where did the incident occur (please complete all of the boxes below)

| Date: Time: am/pm | Location: (be specific) |
| --- | --- |

When and who did you report the incident to ? (Please complete all the boxes below).

| Date reported ? / / | Time reported ? : am/pm | To whom reported ? |
| --- | --- | --- |

What type of work were you doing? (please give as much detail as possible of how asbestos exposure occurred)

________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

Were you wearing any protective equipment ? e.g.  Dust mask, respiratatory equipment, overalls, protective gloves etc;  (please list below).

_________________________________________________________________________________________________

What information did you receive prior to commencement of the work regarding the presence of any asbestos in the work area? (please state below).

________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

I hereby declare that the statements and particulars contained in my report (part 1) are true, to the best of my knowledge, and that no material information within my knowledge has been withheld.

| Signature: | Date: |
| --- | --- |

To be completed by the immediate manager or responsible person, of the employee involved in the incident (please complete all of the boxes below)

| YES | NO |
| --- | --- |

Do you agree with the details provided by the employee overleaf, if no please explain why not in the box provided below.

________________________________________________________________________________ ________________________________________________________________________________

| Have the materials in question ever been analysed for the presence of asbestos? YES | NO |
| --- | --- |

If yes please provide the details:

| Name and address of analyser? | When was the analysis done? / / | What was the result of the analysis? |
| --- | --- | --- |

If the materials in question have not been analysed please arrange for the materials to be immediately sampled and complete the boxes below once the results of analysis have been returned.

| Location of and type of material sent for analysis? Location: Type of material: | When was the sample taken for analysis and by whom Date: Name: | Results of analysis Negative / Positive Percentage: (if any) Type: (if any) |
| --- | --- | --- |

| Result of Air Test: Positive/Negative (delete as necessary) | Date of Air Test: Time: am/pm |
| --- | --- |

Action taken following the incident: ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________ ________________________________________________________________________________

| Name: | Designation: |
| --- | --- |

| Signature: | Date: |
| --- | --- |

This section is to be completed by the safety section  (if applicable).

_________________________________________________________________________________ _________________________________________________________________________________ _________________________________________________________________________________

| Signature: | Date: |
| --- | --- |

Administration requirements

Senior manager: Asbestos Report 	Person involved: Asbestos Report 	Safety Advisor

Insurance: Asbestos Report 		Trade Union Representative: Asbestos Report

## APPENDIX J

## CONTRACTORS SIGN-OFF SHEET

# PROPERTY MAINTENANCE/WORKS SIGN-OFF SHEET

| CONTRACTORS UNDERTAKING ANY WORK WITHIN THE BUILDING MUST READ THE PROPERTY ASBESTOS MANAGEMENT PLAN AND COMPLETE THIS FORM |  |  |
| --- | --- | --- |
| Date | Company Name | I confirm that I have read the property Asbestos Management Plan and we will not interfere with or damage any asbestos containing material: SIGNED: |